Weekly Outline - Cardiac Devices I / HSCI 10065

Note:	This is a plan for the course and is subject to change. The instructor will keep you informed of any necessary revisions.

| Week | Unit # / Title | Major Theme/s and Topic/s | Activities / Assessment |
| --- | --- | --- | --- |
| 1 | Course Introduction 1 / History of Pacing | - Overview of course outline and expectations - History of pacing | - Readings per Unit Overview - In-class quiz/exercise |
| 2 | 1 / History of Pacing 2 / Indications for Pacing 3 / Pacemaker & Lead Technology | - Conduction system - Arrhythmias, symptoms, diagnostic tools - Permanent pacing indications - Temporary pacing indications - Pacemaker system overview | - Readings per Unit Overview - In-class quiz/exercise Indications Case-Study Activity Quiz 1 |
| 3 | 3 / Pacemaker & Lead Technology 4 / Implantable Device Codes & Mode Selection | - Overview of pacing leads - NBG code - Pacemaker and mode selection | Mode Code Exercise |
| 4 | 4 / Implantable Device Codes & Mode Selection 5 / Basic Pacing Concepts | - Pacemaker and mode selection, cont’d - Electrical concepts - Sensing | Indications Case-Study Activity, cont’d |
| 5 | 5 / Basic Pacing Concepts 6 / Single-Chamber Pacing Test 1 | - Sensing, cont’d - Capture - Magnet application - Single-chamber timing - Midterm 1 (Units 1 – 5) | Case-Study - Before and After Test 1 |
| 6 | 6 / Single-Chamber Pacing 5 / Basic Pacing Concepts | - Single-chamber timing, cont’d - Lab 1 - Intro to programmer - Parameters, sensing, capture | Quiz 2 Lab 1 |
| 7 | 7 / Dual-Chamber Pacing | - Dual-chamber timing | Single-Chamber Timing Assignment Case-Study - Before and After |
| 8 | 7 / Dual-Chamber Pacing | - Upper rate behavior - Additional dual-chamber modes/therapies - Mode switching - Sleep Mode - Rate-drop Response | Dual-Chamber Timing Exercise |
| 9 | 8 / Pacemaker ECG Interpretation 9 / Troubleshooting | - Single-chamber ECG analysis strategy - Introduction to troubleshooting - Single-chamber troubleshooting exercise 1 - Lab 2 - Single chamber-troubleshooting exercise 2 | Troubleshooting Exercise 1 Troubleshooting Exercise 2 |
| 10 | 9 / Troubleshooting 8 / Pacemaker ECG Interpretation 9 / Troubleshooting | - Introduction to troubleshooting, cont’d - Dual-chamber ECG analysis strategy - Dual-chamber troubleshooting exercise | Quiz 3 Troubleshooting Exercise 3 |
| 11 | 9 / Troubleshooting 7 / Dual-Chamber Pacing Test 2 | - Troubleshooting, cont’d - Pacemaker-mediated tachycardia - Midterm 2 (Units 6 – 9) | Test 2 |
| 12 | 6 / Single-Chamber Pacing 10 / Pacemaker Follow-up | - Rate-responsive pacing - Overview of routine follow-up | Follow-up Exercise |
| 13 | 11 / Pacemaker Implantation 9 / Troubleshooting Review: Final Exam | - Overview of pacemaker system implant procedure - Troubleshooting, cont’d | Troubleshooting Exercise 4 |
| 14 | Final Exam |  | Final Exam |